## Hardware
Manufacturer | Model | SN | Type | Description | Quantity | Datasheet | Manual | Notes
Keithley | 2470 Graphical | MYFP003200 | SMU | Source Measure Unit | 1 | link | link
Tektronix | TPP1000 |  | Oscilloscope Probe | 1 GHz Passive Probe | 4 | link | link
Tektronix | TPR1000 |  | Oscilloscope Probe | 1 GHz Power Rail Probe | 1 | link | link
Tektronix | MSO64B | MYFP004306 | Oscilloscope | 4 channel | 1 | link | link
Keithley | TRX-1100V-1 |  | Cable | HV Triax to Triax 1m | 4 | link
Keithley | TRX-1100V-PCBCONN |  | Connector | HV Triax F to PCB | 4 | link
Contec | GPIB-FL2-USB | PERKW34003141 | Converter | IEEE 488.2 GPIB to USB | 1 | link | link
SparkFun Electronics | 12795 |  | Jumper Wire | M/M 6" | 20 | link
SparkFun Electronics | 12796 |  | Jumper Wire | F/F 6" | 20 | link
Adafruit Industries LLC | 1954 |  | Jumper Wire | M/F 6" | 20 | link
Mueller Electric Co | BU-P5300 |  | Adapter | M Triax to F BNC | 5 | link
Amphenol RF | 115101-19-36.00 |  | Cable | BNC To BNC 36" | 5 | link
TE Connectivity Linx | 2480557-2 |  | Cable | Triax To Triax 36" | 5 | link |  | Not compatible with Keithley 2470
Amphenol RF | 245101-04-36.00 |  | Cable | BNC To SMA 36" | 5 | link
Amphenol IC | G89011020023DEU |  | Jumper | Mini Jumper | 27 | link
Particulars | Large Scanning TCT | 012026 | Scanning TCT |  | 1
Particulars | AM-02 A |  | RF Amplifier | Wide band current amplifier | 1 | link
Particulars | BT-01 |  | Bias-T | Decoupler of HV to readout | 1 | link
Particulars | LA-01 IR FC |  | Laser | 1064 nm, 50 mW, fiber coupled | 1 |  | link
Particulars | F-01 A |  | HV Filter | DC power supply filter | 1 |  | link
Standa | 8MTF-102LS05 | 260689 | Motorized XY Scanning Stage |  | 1
Strada | 8MT175-100 | 264462 | Motorized Linear Stage |  | 1
Strada | 8SMC5-USB-B8-B9 |  | 3-axis controller | consists of 8SMC5-USB-B8-1 and 8SMC5-USB-B9-2 | 1 | link
Xilinx | Kintex HW-KC705 | 1165 | FPGA |  | 1 |  |  | Whizzsystems SN: 604031951839-92389

## Software
Maker | Name | Version | Type | Description | Manual | Notes
Particulars | ParticlarsLaserControl | 2.1 |  |  | link
Particulars | PSTCT | 3.2 |  | Scanning TCT data acquisition | link
Particulars | TCTAnalyse | 3 |  | ROOT library for analysis of TCT data | link